## Slide 1: Multivariable Control

## Slide 2: Quadruple Tank
MATLAB & SIMULINK

## Slide 3: Quadruple Tank problem
LT
LT
LC
LC

## Slide 4: Quadruple Tank problem
Control Objective
Both the levels of tank1 and tank2 should be controlled by manipulating voltages to the pumps.
Data for simulation:
A1, A3 = 28 cm2
A2, A4 = 32 cm2
a1, a3 = 0.071 cm2
a2, a4 = 0.057 cm2
Case | k1 | k2 | v1 | v2 |  | 
1 | 3.33 | 3.35 | 3.0 | 3.0 | 0.7 | 0.6
2 | 3.14 | 3.29 | 3.15 | 3.15 | 0.43 | 0.34
3 | 3.2 | 3.32 | 3.1 | 3.1 | 0.5 | 0.5
Case | k1 | k2 | v1 | v2 |  | 
1 | 3.33 | 3.35 | 3.0 | 3.0 | 0.7 | 0.6
2 | 3.14 | 3.29 | 3.15 | 3.15 | 0.43 | 0.34
3 | 3.2 | 3.32 | 3.1 | 3.1 | 0.5 | 0.5

## Slide 5: Simulink Model of Quad Tank
Let simulate the Model in Simulink

## Slide 6: Linearized Equations for Quad Tank
Introducing the deviation variables (i=1..4) and (j=1..2) the linearized equations are

## Slide 7: Transfer function matrix of Quad Tank
The corresponding transfer function matrix is
Where, and

## Slide 8: Poles and Zeros of Quad Tank
Case 1
So, poles are

## Slide 9: Zeros of the system
Since poles of is zeros of ,
So, will give poles of and Zeros of G(s).
For Case 1:
Zeros are at

## Slide 10: Poles and Zeros of Quad Tank
 | Case 1 | Case 2 | Case 3
p1 |  |  | 
p2 |  |  | 
p3 |  |  | 
p4 |  |  | 
z1 |  |  | 
z2 |  |  | 
 | Case 1 | Case 2 | Case 3
p1 |  |  | 
p2 |  |  | 
p3 |  |  | 
p4 |  |  | 
z1 |  |  | 
z2 |  |  | 

## Slide 11: Multi-Loop vs Multivariable Control
Multi-loop - use of several single-loop controllers (e.g., PID) on pairs of manipulated/controlled variables
Multivariable - make control adjustments decisions jointly considering all outputs simultaneously
Multi-loop control configurations are typically used as a base control configuration and reside in the Distributed Control System (DCS).
» e.g., flow control, temperature control, pressure control
Multivariable control configurations typically require additional computational capability, and sit over a base multi-loop control configuration, sending setpoints to the multi-loop controllers.

## Slide 12: Multi-Loop vs Multivariable Control