## Slide 1: Review of Feedback Control System

## Slide 2: Frequency Response
Process
t
Amplitude Ratio (AR) = Â/A
Phase lag ( = -t/P*360
The process acts as a “filter” or “amplifier” that attenuates or amplifies the input at frequency .
The frequency response of a process G(s) at a specific frequency is a complex number and can be obtained by substituting
P

## Slide 3: Frequency Response
Two ways of representing the frequency response
  Bode Plot
    Log-Log plot of AR vs and semi-log plot vs
  Nyquist Plot
    Plot of Re() vs Im() for various values of .
    Frequency does not appear explicitly in this plot.

## Slide 4: Bode Plot
Meeting pt of LFA and HFA
Steady state gain:
Bandwidth, , defines the highest frequency at which the process displays no attenuation. It is calculated based on the frequency when amplitude reaches 0.707 K.
Roll-off is slope of decaying AR at high frequencies.

## Slide 5
Crossover
AR(

## Slide 6: Bode Stability Criterion
Consider open-loop control system
1. Introduce sinusoidal input in setpoint (D(s)=0) and observe sinusoidal output
2. Fix gain such AR=1 and input frequency such that =-180
3. At same time, connect close the loop and set YSP(s)=0
Q: What happens if AR <1, 1 and >1?
Open-loop Response to YSP(s)
Gp
Gc
Gs
D(s)
Y(s)
Ys(s)
YSP(s)
U(s)
+
-
+
+

## Slide 7: Bode Stability Criterion
A closed-loop system is unstable if the frequency of the response of the open-loop GOL has an amplitude ratio greater than one at the critical frequency. Otherwise it is stable.
Strategy:
1. Solve for w in
2. Calculate AR

## Slide 8: Bode Stability Criterion
To check for stability:
1. Compute open-loop transfer function
2. Solve for w in f=-p
3. Evaluate AR at w
4. If AR>1 then process is unstable
Find ultimate gain:
1. Compute open-loop transfer function without controller gain
2. Solve for w in f=-p
3. Evaluate AR at w
4. Let

## Slide 9: Bode Criterion
Consider the transfer function and controller
- Open-loop transfer function
- Amplitude ratio and phase shift
- At f=-p, w=1.4128, AR=6.746

## Slide 10: Bode Stability
Phase Crossover frequency (is the frequency at which phase lag is 1800.
Gain Crossover frequency () is the frequency at which AR = 1
Gain Margin (GM) is the amount of gain required for the AR to reach 1 at phase crossover frequency.
  GM=1/ARC , where ARC is the Amplitude ratio at gain crossover frequency.
Phase Margin (PM) is the amount of phase difference required for phase lag to reach 1800 at gain crossover frequency. PM=180+ where is phase lag at phase crossover frequency.

## Slide 11: Gain Margin and Phase Margin
dB=20 log10AR
Wcg is the frequency where the gain margin is measured, which is a -180° phase crossing frequency.
Wcp is the frequency where the phase margin is measured, which is a 0-dB gain crossing frequency.

## Slide 12: Nyquist Stability Criterion
If N is the number of times that the Nyquist plot encircles the point (-1,0) in the complex plane in the clockwise direction, and P is the number of open-loop poles of GOL that lie in the right-half plane, then Z=N+P is the number of unstable roots of the closed-loop characteristic equation.
Strategy
1. Substitute s=jw in GOL(s)
2. Plot GOL(jw) in the complex plane
3. Count encirclements of (-1,0) in the clockwise direction

## Slide 13: Nyquist Criterion
Consider the transfer function
and the P controller

## Slide 14: PID Controller Tuning

## Slide 15
Unit-step disturbance responses for the candidate controllers (FOTD Model: K = 1,
Controller Tuning: A Motivational Example

## Slide 16
Performance Criteria For Closed-Loop Systems
The closed-loop system must be stable.
The effects of disturbances are minimized, providing good disturbance rejection.
Rapid, smooth responses to set-point changes are obtained, that is, good set-point tracking.
Steady-state error (offset) is eliminated.
Excessive control action is avoided.
The control system is robust, that is, insensitive to changes in process conditions and to inaccuracies in the process model.

## Slide 17: Measure of Control Performance
Overshoot.
Decay ratio.
Rising time or Response time.
Stabilization time or Settling time.
Integral Error
  Integral Absolute Error (IAE)
  Integral Square Error (ISE)
  Integral time absolute error (ITAE)
Phase Margin
Gain Margin

## Slide 18
Empirical Tuning correlations using FODT model
  Step response FODT model
  Continuous Cycling
Direct Synthesis (DS) method
Internal Model Control (IMC) method
Optimization method
Frequency response techniques
On-line tuning after the control system is installed.
PID controller settings can be determined by a number of alternative techniques:

## Slide 19: Empirical Tuning Correlations:
Controller :
For PID with derivative on output:
; ;
Step Response Model :
Ziegler-Nichols relations
Cohen-Coon
Chien–Hrones–Reswick (CHR)
Controller Type | From Step response |  | 
 | KC |  | 
P |  |  | 
PI |  | 3.3  | 
PID |  | 2  | 0.5 
Controller Type | From Step response |  | 
 | KC |  | 
P |  |  | 
PI |  | 3.3  | 
PID |  | 2  | 0.5 

## Slide 20: Cohen-Coon formula
Z-N type empirical tuning formula using process model
Designed to achieve ¼ decay ratio
Define
Controller Type | Cohen-Coon |  | 
 | KC |  | 
P |  |  | 
PI |  |  | 
PID |  |  | 
Controller Type | Cohen-Coon |  | 
 | KC |  | 
P |  |  | 
PI |  |  | 
PID |  |  | 

## Slide 21: Chien–Hrones–Reswick (CHR) tuning formula
Z-N type tuning formula
  for known parameters FODT process
  Emphasizes setpoint tracking or disturbance rejection
  Accommodates speed of response and overshoot qualitatively
  Define
Controller Type | 0% Overshoot Setpoint ( Disturbance) |  |  | 20% Overshoot Setpoint ( Disturbance) |  | 
 | KC |  |  | KC |  | 
P | 0.3 a (0.3 a) |  |  | 0.7 a (0.7 a) |  | 
PI | 0.35 a (0.6 a) | 1.2  (4 ) |  | 0.6 a (0.7 a) |  (2.3 ) | 
PID | 0.6 a (0.95 a) |  (2.4 ) | 0.5  (0.42 ) | 0.95 a (1.2 a) | 1.4  (2 ) | 0.47  (0.42 )
Controller Type | 0% Overshoot Setpoint ( Disturbance) |  |  | 20% Overshoot Setpoint ( Disturbance) |  | 
 | KC |  |  | KC |  | 
P | 0.3 a (0.3 a) |  |  | 0.7 a (0.7 a) |  | 
PI | 0.35 a (0.6 a) | 1.2  (4 ) |  | 0.6 a (0.7 a) |  (2.3 ) | 
PID | 0.6 a (0.95 a) |  (2.4 ) | 0.5  (0.42 ) | 0.95 a (1.2 a) | 1.4  (2 ) | 0.47  (0.42 )

## Slide 24
Continuous Cycling Method
Ziegler and Nichols (1942) introduced the continuous cycling method for controller tuning. It is based on the following trial-and-error procedure:
Step 1. After the process has reached steady state (at least approximately), eliminate the integral and derivative control action.
Step 2. Set Kc equal to a small value and place the controller in the automatic mode.
Step 3. Introduce a small set-point step change so that the controlled variable moves away from the set point. Gradually increase Kc in small increments until continuous cycling occurs.

## Slide 25
The term continuous cycling refers to a sustained oscillation with a constant amplitude. The numerical value of Kc that produces continuous cycling (for proportional-only control) is called the ultimate gain, Kcu. The period of the corresponding sustained oscillation is referred to as the ultimate period, Pu.
Step 4. Calculate the PID controller settings using the tuning relations in Table.
Controller Type | Tyreus-Luyben |  |  | Ziegler-Nichols |  | 
 | KC |  |  | KC |  | 
P | - |  |  | KCU /2 |  | 
PI | KCU /3.2 | 2.2 Pu |  | KCU /2.2 | Pu /1.2 | 
PID | KCU /2.2 | 2.2 Pu | Pu /6.3 | KCU /1.7 | Pu /2 | Pu /8
Controller Type | Tyreus-Luyben |  |  | Ziegler-Nichols |  | 
 | KC |  |  | KC |  | 
P | - |  |  | KCU /2 |  | 
PI | KCU /3.2 | 2.2 Pu |  | KCU /2.2 | Pu /1.2 | 
PID | KCU /2.2 | 2.2 Pu | Pu /6.3 | KCU /1.7 | Pu /2 | Pu /8

## Slide 27: Example
Process Transfer function
Characteristic Eqn. 1 + GOL = 1 + Kc G = 0
So,
Routh Array
24 35 1+5Kc
50 10
30.2 1+5Kc KCu = -0.2 or 1.008
10 -50(1+5Kc)/30.2 0
1+5Kc Pu = 14.0879

## Slide 28
Direct Synthesis (DS) method
In the Direct Synthesis (DS) method, the controller design is based on a process model and a desired closed-loop transfer function.
Consider the block diagram of a feedback control system in Figure
The closed-loop transfer function for set-point changes is:
(1)

## Slide 29
Direct Synthesis (DS) method
For simplicity, let and assume that Gm = Km.
Then Eq. 1 reduces to:
Rearranging and solving for Gc gives an expression for the feedback controller:
Above equation cannot be used for controller design because the closed-loop transfer function Y/Ysp is not known.

## Slide 30
Direct Synthesis (DS) method [cont.]
Also, it is useful to distinguish between the actual process G and the model, that provides an approximation of the process behavior.
A practical design equation can be derived by replacing the unknown G by , and Y/Ysp by a desired closed-loop transfer function, (Y/Ysp)d:
Note that the controller transfer function contains the inverse of the process model.

## Slide 31
Direct Synthesis (DS) method [cont.]
For processes without time delays, the following first-order model is a reasonable choice,
Where τc is the desired closed loop time constant.
Because the steady-state gain is one, no offset occurs for set-point changes.

## Slide 32
Direct Synthesis (DS) method [cont.]
By substituting
into
Solving for Gc , the controller design equation becomes:
The term provides integral control action and thus eliminates offset.
Design parameter provides a convenient controller tuning parameter that can be used to make the controller more aggressive (small ) or less aggressive (large ).

## Slide 33: Direct Synthesis (DS) method [cont.]
Process Model, Controller,
K I-Controller
P-Controller
PI

## Slide 34
Direct Synthesis (DS) method [cont.]
If the process transfer function contains a known time delay θ, a reasonable choice for the desired closed-loop transfer function is:
The time-delay term in above is essential because it is physically impossible for the controlled variable to respond to a set-point change at t = 0.
Combining reference trajectory with controller equation :

## Slide 35
Direct Synthesis (DS) method [cont.]
Combining reference trajectory with controller equation :
Gives:
Approximating the time-delay term with a truncated Taylor series expansion: we get
Note that this controller also contains integral control action.

## Slide 36
Direct Synthesis (DS) method [cont.]
I. First Order with Dead Time (FOTD) Process
Consider the standard FOTD model,
Substituting FOTD model into Controller equation and rearranging gives a PI controller;
with the following controller settings:

## Slide 37
Example 12.1
Use the DS design method to calculate PID controller settings for the process:
Consider three values of the desired closed-loop time constant: .
Evaluate the controllers for unit step changes in both the set point and the disturbance, assuming that Gd = G.
Repeat the evaluation for two cases:
a. The process model is perfect ( = G).
The model gain is incorrect, = 0.9, instead of the actual value, K = 2.

## Slide 38
Direct Synthesis (DS) method [cont.]
2. Second-Order-plus-Time-Delay (SOTD) Model
Consider a second-order-plus-time-delay model,
Substitution into Gc eqn. and rearranging gives a PID controller;
with the following controller settings:

## Slide 39
Example 12.1- Solution
Use the DS design method to calculate PID controller settings for the for two cases:
Comparing with standard PID controller;
Thus;
comparing

## Slide 40
Example 12.1- Solution
The controller settings are as follows:
(a)For K =2
(b)For K =0.9
The values of Kc decrease as τc increases, but the values of τI and τD and do not change

## Slide 41
Example 12.1- Solution
Simulation results for (a)
( = G),
As τc increases, the responses become more sluggish
Increasing τc

## Slide 42
Example 12.1- Solution
Simulation results for (b)
( = 0.9).
As τc increases, the responses become more sluggish
Increasing τc

## Slide 43
Example 12.1- Solution
Which one is better???WHY?

## Slide 44
Thank you

## Slide 45
Direct Synthesis Method
In the Direct Synthesis (DS) method, the controller design is based on a process model and a desired closed-loop transfer function.
The latter is usually specified for set-point changes, but responses to disturbances can also be utilized (Chen and Seborg, 2002).
Although these feedback controllers do not always have a PID structure, the DS method does produce PI or PID controllers for common process models.
As a starting point for the analysis, consider the block diagram of a feedback control system in Figure 12.2. The closed-loop transfer function for set-point changes was derived in Section 11.2:

## Slide 46
Fig. 12.2. Block diagram for a standard feedback control system.

## Slide 47
For simplicity, let and assume that Gm = Km. Then Eq. 12-1 reduces to
Rearranging and solving for Gc gives an expression for the feedback controller:
Equation 12-3a cannot be used for controller design because the closed-loop transfer function Y/Ysp is not known a priori.
Also, it is useful to distinguish between the actual process G and the model, , that provides an approximation of the process behavior.
A practical design equation can be derived by replacing the unknown G by , and Y/Ysp by a desired closed-loop transfer function, (Y/Ysp)d:

## Slide 48
The specification of (Y/Ysp)d is the key design decision and will be considered later in this section.
Note that the controller transfer function in (12-3b) contains the inverse of the process model owing to the term.
This feature is a distinguishing characteristic of model-based control.
Desired Closed-Loop Transfer Function
For processes without time delays, the first-order model in Eq. 12-4 is a reasonable choice,

## Slide 49
The model has a settling time of ~ 4 , as shown in Section 5. 2.
Because the steady-state gain is one, no offset occurs for set-point changes.
By substituting (12-4) into (12-3b) and solving for Gc, the controller design equation becomes:
The term provides integral control action and thus eliminates offset.
Design parameter provides a convenient controller tuning parameter that can be used to make the controller more aggressive (small ) or less aggressive (large ).