## Slide 1: Internal Model Control

## Slide 2: Open loop Control
Consider,
For, , ideally, ;
However, the inherent process dynamics does not allow the output to track immediately.
So, is used. So,
In actual practice, is estimated as ,
So, open loop control law should be

## Slide 3: Open loop control
f(s) is called filter and should be chosen such a way that
  q(s) should not become improper.
  Process dynamic characteristics are not violated.
Since, inverse of is required for the open loop control law, it should also be noted that it may not be always possible to get inverse of .
So, factorize where
is invertible part and is non-invertible part.
So, finally, open loop control law is
Open loop control is always stable if the process is stable.
Disturbance to the system  How to handle?

## Slide 4: Internal Model Control
Open loop control law discussed earlier can not take care of disturbances to the process.
How to take care of disturbance?
Disturbance, d is estimated internally using a process model
The above is called Internal Model Control structure.
d
+
+
+
-
u
+
-

## Slide 5: Internal Model Control
IMC Equation:
The ideal IMC control law ensures both servo and regulatory control in spite of process/model mismatch and presence of disturbance .
In actual practice, design of IMC control law is same as earlier used for open loop control.

## Slide 6: IMC Design Procedure
Factor the process model into invertible and non-invertible component
Form the idealized IMC controller which is the inverse of the invertible component of the process model.
Add a filter to make the controller atleast semi-proper
Adjust to vary the speed of response of the control system.

## Slide 7: Example-1: FODT Process
Consider the process
Assuming no process/model mismatch,
Using the IMC design steps:
1. Factorize to invertible and non-invertible parts.
and
2. Idealized IMC :
3. IMC:
So, the controlled response will be

## Slide 8: Example-2: SO with RHP zero
Consider the process
Assuming no process/model mismatch,
Using the IMC design steps:
1. Factorize to invertible and non-invertible parts.
and
2. Idealized IMC:
3. IMC:
So, the controlled response will be

## Slide 9: IMC based PID Controller
d
+
+
+
-
u
+
-
d
+
+
+
+
u
+
-
PID Controller
IMC structure
Feedback Structure

## Slide 10: IMC based PID Controller design
From the IMC and its equivalent Feedback block diagram, we can relate
Where, is a PID controller.
For a first order process
IMC controller :
Equivalent PID Controller
So, is PI controller with and

## Slide 11: IMC based PID Controller Design
Second Order Process
IMC controller: Here, we allow improper q(s) to get ideal PID controller.
Equivalent PID controller:
or,

## Slide 12: IMC based PID Controller Design
FODT Process:
IMC controller:
Equivalent PID:
can be approximated by either first or 2nd order Taylor series.
For 1st order:
so,

## Slide 13: IMC based PID Controller Design
For 2nd order approximation:
IMC controller:
Equivalent PID controller:
i.e,

## Slide 14: IMC based PID Controller Design
Controller :
Process Filter

## Slide 15: IMC based PID Controller Design
Controller :
Process Filter

## Slide 16
Controller :
Process

## Slide 17: IMC based PID for unstable process
Find the IMC controller transfer function, q(s), which includes a filter, f(s), to make q(s) semiproper. An additional requirement is that the value of f(s) at s = pu (where pu is an unstable pole) must be 1.
Morari and Zafiriou (1989) recommend a filter transfer function that has the form
A value of is found that satisfies the filter requirement f(s = pu) = 1.
Find the equivalent standard feedback controller using the transformation

## Slide 18: Example
Let us consider an unstable process
IMC controller:
Solve for so that
This gives,

## Slide 19: Selection of
The choice of design parameter is a key decision in the IMC design methods.
In general, increasing produces a more conservative controller because Kc decreases while increases.
Several IMC guidelines for have been published for the FODT model
  and - Rivera et. Al. (1986)
  - Chien and Fruehauf, (1990)
  - Skogestad, (2003)

## Slide 20
Tuning for Lag-Dominant Models
First- or second-order models with relatively small time delays are referred to as lag-dominant models.
The IMC and DS methods provide satisfactory set-point responses, but very slow disturbance responses, because the value of is very large.
Fortunately, this problem can be solved in three different ways.
Method 1: Integrator Approximation
Then use the IMC tuning rules to specify the controller settings.

## Slide 21
Method 2. Limit the Value of tI
For lag-dominant models, the standard IMC controllers for first-order and second-order models provide sluggish disturbance responses because is very large.
For example, controller Gc has for most of the cases where is very large.
As a remedy, Skogestad (2003) has proposed limiting the value of :
where t1 is the largest time constant (if there are two).
Method 3. Design the Controller for Disturbances, Rather
Set-point Changes
The desired CLTF is expressed in terms of (Y/D)des, rather than (Y/Ysp)des
Reference: Chen & Seborg (2002)

## Slide 22
Example
Consider a lag-dominant model with
Design four PI controllers:
IMC
IMC based on the integrator approximation
IMC with Skogestad’s modification
Direct Synthesis method for disturbance rejection (Chen and Seborg, 2002): The controller settings are Kc = 0.551 and

## Slide 23
Evaluate the four controllers by comparing their performance for unit step changes in both set point and disturbance. Assume that the model is perfect and that Gd(s) = G(s).
Solution
The PI controller settings are:
Controller | Kc | 
IMC | 0.5 | 100
(b) Integrator approximation | 0.556 | 5
(c) Skogestad | 0.5 | 8
(d) DS-d | 0.551 | 4.91

## Slide 24
Comparison of set-point responses (top) and disturbance responses (bottom). The responses for the Chen and Seborg and integrator approximation methods are essentially identical.

## Slide 25: Time Delay Processes
Dead times, or time delays, are found in many processes in industry.
Dead times are mainly caused by the
    accumulation of time lags in a number of dynamic systems connected in series (e.g. distillation column)
  Transportation lag (long pipelines)
  Slow measuring device: GC
  Sampling delays introduced by computer control
For processes exhibiting dead time, every action executed in the manipulated variable of the process will only affect the controlled variable after the process dead time.

## Slide 26: Effect of Time Delay
Processes with large dead time are difficult to control by pure feedback control (PID) alone because
  Effect of disturbances is not seen by controller for a while
  Effect of control action is not seen at the output for a while. This causes controller to take additional compensation unnecessary.
  This results in unnecessary oscillation and loss of feedback loop controllability.
Dead times produce a decrease in the system phase and also give rise to a non-rational transfer function of the system, making them more difficult to analyse and control.

## Slide 27: Controllability Ratio
Controllability Ratio (CR) is defined as where is deadtime or timedelay and is dominant time constant of the process.
CR =1 represents pure delay processes. As CR increases, the stability of the control loop decreases. PID controller has to be tuned with lower gain (Z-N tuning) resulting sluggish response.

## Slide 28: Effect of Controllability Ratio
Robustness of the controller decreases.
Both Gain Margin and Phase Margin reduced

## Slide 29: Effect of Deadtime on output response

## Slide 30: Predictor based solution
The real implementation of this solution is not possible in practice mainly because the sensor cannot be installed in the desired position and/or the process dead time is not caused by mass transportation.
A simple solution can be the use of process model without deadtime element. If process P(s) = G(s) is approximated by and is used to send output signal.
C(s)
C(s)
G(s)
+
-
Ideal solution is to send the undelayed output signal to the controller as shown in the figure.

## Slide 31: Predictor based solution
C(s)
C(s)
Gm(s)
P(s)
+
-
This is an open-loop predictor control system.
Control loop equation :
Limitation: Effect of disturbance and Process/Model mismatch is not taken care of in this design

## Slide 32: Smith Predictor
d(s)
With this structure, if there are no modelling errors or disturbances, the error between the current process output and the model output (ep(t)) will be null and the controller can be tuned as if the plant had no dead time.
Thus, in the nominal case this structure gives the same performance as the ideal solution i.e, open loop predictor.
This structure was developed by Smith (1950) and is called Smith Predictor.
C(s)
C(s)
Gm(s)
P(s)
+
-
+
-
+
+
ep(s)

## Slide 33: Smith Predictor : Feedback Structure
d(s)
C(s)
C(s)
P(s)
+
-
(s)
(s)
+
+
d(s)
C(s)
C(s)
P(s)
+
-
(s)
(s)
-
+
+
+

## Slide 34: Characteristic Equation
Smith Compensator:
Feedback Equation:
Characteristic Equation:
No mismatch in Process/Model:

## Slide 35: Smith compensator in IMC-PID
Consider, FODT process model :
IMC- Controller :
IMC-PID Controller:
So,
Or,
Or,
Or,

## Slide 36: Matlab Implementation
Process: and
Feedback control of Process:
s=tf(‘s’);
P=6/(43*s+1)*exp(-100*s);
P.InputName=‘u’;
P.OutputName=‘y0’;
[C,info]=pidtune(P,pidstd(1,1));
Info
Pcl=feedback([P*C,1],1,1,1);
Pcl.InputName={‘ysp’, ‘d’};
step(Pcl), grid on;
Bandwidth : 0.0059 rad/s
Phase Margin : 60 degree

## Slide 37: Matlab Implementation
% Prediction model
Gp = 6/(45*s+1); Gp.InputName = 'u'; Gp.OutputName = 'yp';
Dp = exp(-100*s); Dp.InputName = 'yp'; Dp.OutputName = 'y1';
% Develop Process with Smith Predictor
S1 = sumblk('dy = y0 - y1'); S2 = sumblk('ym = yp + dy');
Plant = connect(P,Gp,Dp,S1,S2,'u','ym');
% Design PI controller with 60 degrees phase margin
[C,info] = pidtune(Plant,pidstd(1,1)); C.InputName = 'e';C.OutputName = 'u';
% Assemble closed-loop model from [y_sp,d] to y
Sum1 = sumblk('e = ysp - yp - dy'); Sum2 = sumblk('y = y0 + d'); Sum3 = sumblk('dy = y - y1');
T = connect(P,Gp,Dp,C,Sum1,Sum2,Sum3,{'ysp','d'},'y');
% Design PI controller with 85 degrees phase margin
Opt = pidtuneOptions('PhaseMargin',85);
[C1,info] = pidtune(Plant,pidstd(1,1),Opt);
C1.InputName = 'e'; C1.OutputName = 'u';
T1 = connect(P,Gp,Dp,C1,Sum1,Sum2,Sum3,{'ysp','d'},'y');
% Use STEP to compare the Smith Predictor (blue) with the PI controller (red):
step(T1,'b',T,'b--',gcl,'r--'), grid on

## Slide 38: Matlab Implementation